## EV Cost Analysis
EV Charging Electric Bill Anlaysis Using Xcel Rates
Input Values in Blue
| kW | Number
Level-3 | 150 | 1
Level-2 | 15 | 3
| Time/month (hours) | kWh
Charging Hours Level-3 | 20 | 3000
Charging Hours Level-2 | 40 | 600
Total |  | 3600
Charging Station Maximum kW | 195
Results |  |  | 80% | 20% |  |  |  |  | Average $/kWh |  |  |  | Average $/kWh
Load Factor | kW | kWh | On Peak kWh | Off Peak kWh | 100 hour Limited kW | 150 hour Limited kW | Bill Cg-7 100 hour | Bill Cg-7 150 hour | Bill Cg-7 100 hour | Bill Cg-7 150 hour | Bill Cg-9 100 hour | Bill Cg-9 150 hour | Bill Cg-9 100 hour | Bill Cg-9 150 hour
2.529% | 195 | 3600 | 2880 | 720 | 36 | 24 | 769.056 | 622.896 | 0.21363 | 0.17303 | 889.0832 | 706.9232 | 0.24697 | 0.19637
Assumptions
Cg-7 Facility Charge | 42
Cg-7 Blended On-peak kWh | 0.0862
Cg-7 Blended Demand | 9.68
Cg-7 Off-peak kWh | 0.056
Cg-7 Dist. Demand | 2.5
| Mandatory | Optional
Cg-9 Facility Charge | 180 | 65
Cg-9 Blended On-peak kWh | 0.08289
Cg-9 Blended Demand | 11.68
Cg-9 Off-peak kWh | 0.054
Cg-9 Dist. Demand | 3.5
Example Station Configurations
Demand 150+15+15+15 | 195
Demand 150+19.2+19.2+19.2 | 207.6
Demand 150+150+15+15 | 330
Demand 150+150+19.2+19.2 | 338.4