## Summary
Summary - Bayfield County Energy Usage in County Owned Facilities
| 2020 Usage | 2019 Usage | 2018 Usage | 2017 Usage | Conversion Factor to BTU's | 2020 Million BTUs | 2019 Million BTUs | 2018 Million BTUs | 2017 Million BTUs | 2020 Cost | 2019 Cost | 2018 Cost | 2017 Cost | 2019-2020 $ savings (%) | 2017-2020 $ savings (%)
Electricity (kWh) | 972423 | 987004.6817 | 989433.6778 | 973801.9349 | 3412 | 3317.9073 | 3367.66 | 3375.9477 | 3322.6122 | 63381.37 | 74257.89 | 85774 | 97368 | 14.65% | 34.91%
Transportation
gasoline (gal) | 38459 | 34479 | 32932 | 36342 | 114000 | 4384.326 | 3930.606 | 3754.248 | 4142.988 | 48853.2227 | 72386.2434 | 82589.0804 | 81329.6475 | 32.51% | 39.93%
diesel (gal) | 67014 | 69218 | 65287 | 77534 | 138874 | 9306.5022 | 9612.5805 | 9066.6668 | 10767.4567 | 135711 | 172275 | 166321 | 167411 | 21.22% | 18.94%
CNG (therms) | 5959.0554 | 4760 | 3596 | 3750 | 100000 | 595.9055 | 476 | 359.6 | 375 | 3546.8298 | 2833.152 | 2394.936 | 2355 | -25.19% | -50.61%
Heating
natural gas (therms) | 66641.9799 | 75731 | 71320 | 63965 | 100000 | 6664.198 | 7573.1 | 7132 | 6396.5 | 40156.4302 | 47733.848 | 48523.064 | 41935 | 15.87% | 4.241%
propane (gal) | 15362 | 16667.537 | 17678.2609 | 15220.3822 | 91502 | 1405.6537 | 1525.113 | 1617.5962 | 1392.6954 | 14649 | 19151 | 16264 | 11948 | 23.51% | -22.61%
Total | [5 empty] | 25674.4928 | 26485.0595 | 25306.0588 | 26397.2523 | 306297.8527 | 388637.1334 | 401866.0804 | 402346.6475 | 21.19% | 23.87%
Summary Solar Electric Generation
Renewable Energy Generation | kW dc | 2020 Solar Generation | Conversion factor to BTUs | Million BTUs | Value of Solar 2020 | 2020 - % Electricity from Solar | 2019 - % Electricity from Solar | 2020 - % Solar PV to Total Energy
Onsite solar PV (kW dc) | 174 | 179271 | 3412 | 611.6727 | 15898.8
Offsite Community Solar | 195.125 | 209100 | 3412 | 713.4492 | 17220.6
Total | 369.125 | 388371 |  | 1325.1219 | 33119.4 | 39.94% | 22.12% | 5.161%
Note: This data is totaled from other sheets in this Workbook. Don't enter things here!

## Electrcity Entry Form
Bayfield County Electric Meter Data | [9 empty] | Bayfield County Electric Meter Data (continued)
Location | Address | 2020kWh on Electric bills | 2020 All-in Cost Electrcity | 2019kWh on Electric bills | 2019 All-in Cost Electrcity | 2018kWh | 2018 All-in Cost Electrcity | 2017kWh | 2017 All-in Cost Electrcity | 2019 All-in Cost Per KWH | Electric Service | Meter # | Premise # | Electric Utility | Note
Sheriff's Department | 34425 Fire Tower Rd, Bayfield | 15593 | 1995 | 15431 | 1992 | 11008 | 1492 | 12002 | 1627 | 0.12909 | Sm Gen Svc | 64330371 | 302338390 | Xcel
Cable Garage | 43645 Kavanaugh Rd., Cable, WI | 2141 | 451 | 2112 | 450 | 2700 | 493 | 1475 | 349 | 0.21307 | Sm Gen Svc | 63093703 | 303195691 | Xcel | Xcel data adjusted to 12 month intervals
Courthouse | 117 E 5th St, Washburn | 285600 | 17023 | 299680 | 18676 | 298400 | 24125 | 300000 | 32360 | 0.06232 | Gen TOD | 2655833 | 302580064 | Xcel | Includes comm. solar credit, starts Aug 2018
Spider Lake/Fairgounds | 7080 N Main St, Iron River | 128 | 464 | 183 | 458 | 80 | 443 | 66 | 435 | 2.5027 | RSC | 1720712 | 303189626 | Xcel/BEC | Electricity is BEC/NG is Xcel
Forestry Bldg | 380 1st Ave E, Washburn | 3107 | 799 | 11002 | 1522 | 12420 | 1698 | 9957 | 1437 | 0.13834 | Sm Gen Svc | 143866319 | 304431259 | Xcel | Solar PV generation not credited in 2019 (will credit in 2020)
Washburn Highway Garage | 311 Central Ave, Washburn | 17320 | 4324 | 56880 | 7661 | 60400 | 7550 | 54240 | 7563 | 0.13469 | Gen TOD | 2708354 | 303917428 | Xcel
Highway C | 311 Central Ave, Washburn | 6855 | 976 | 1789 | 424.89 | 3205 | 566 | 2917 | 525 | 0.2375 | Sm Gen Svc | 63855215 | 303197394 | Xcel
Highway E (Mason Station) | 24990 County Highway E., Mason, WI | 6801 | 976 | 5527 | 841 | 3792 | 626 | 3710 | 616 | 0.15216 | Sm Gen Svc | 115258007 | 304462005 | Xcel | Two meters/buildings at this location
Mason Station (meter with solar) | 24990 County Highway E., Mason, WI | 943 | 420 | 2070 | 458 | 4089 | 795 | 5833 | 870 | NA | Sm Gen Svc | 143866334 | 302933807 | Xcel | PV attached to this meter starting 10.1.2018
Iron River Garage | 8205 US Highway 2, Iron River, WI | 14196 | 2185 | 13038.3973 | 1694 | 14006.6778 | 1810 | 11560.9349 | 1517 | 0.12992 | GS-1 |  | 303486359 | Xcel/Dahlberg | Electricity is Dahlberg/NG is Xcel
Jail | 615 N 2nd Ave E | 404720 | 28778.37 | 549840 | 37526 | 562000 | 43941 | 557280 | 47985 | 0.068249 | Gen TOD | 19636853 | 303744240 | Xcel | Includes comm. Solar credit, starts Aug 2018
Port Wing Garage | 8705 State Highway 13, Port Wing, WI | 5218 | 798 | 5895 | 879 | 5118 | 781 | 4449 | 704 | 0.14911 | Sm Gen Svc | 63096781 | 303402426 | Xcel
Russell Garage |  | 8414 | 1642 | 8669 | 1676 | 7035 | 1454 | 6582 | 1380 | 0.19333 | RSC | 1721017 | 08B26009 | BEC | Includes comm. Solar credit, starts pre 2017
Grandview Sheriff Storage |  | 1060 | 329
Washburn EM Tower |  | 9759 | 1323
Ashland WIC (3 county facility) | 216 3rd St. W. Ashland, WI | 6047 | 898
Solar generation not included in electric bills |  | 184521 |  | 14888.2844 |  | 5180 |  | 3730
Totals |  | 972423 | 63381.37 | 987004.6817 | 74257.89 | 989433.6778 | 85774 | 973801.9349 | 97368 | 0.075236
Note: BEC subtracts community solar generation from kWh used. Full 2019 usage at Russell Garage equals 8669 + 4246 (see Renewable Electricity Tab)
Jail/Courthouse Details (continued)
Jail/Courthouse Details |  | 2020kWh on Electric bills | 2020 All-in Cost Electrcity | 2019kWh on Electric bills | 2019 All-in Cost Electrcity | 2018kWh | 2018 All-in Cost Electrcity | 2017kWh | 2017 All-in Cost Electrcity | 2019 All-in Cost Per KWH | 2019-2020 savings | 2019-2018 savings | 2018-2017 savings | 2020-2017 savings
Jail | 615 N 2nd Ave E | 404720 | 28778.37 | 549840 | 40768.97 | 562000 | 43941 | 557280 | 47985 | 0.074147 | 29.41% | 7.219% | 8.428% | 40.03% | Jail
Courthouse | 117 E 5th St, Washburn | 285600 | 17023 | 299680 | 18676 | 298400 | 24125 | 300000 | 32360 | 0.06232 | 8.851% | 22.59% | 25.45% | 47.39% | Courthouse

## Nat. Gas Summary
Natrual Gas Summary
Location | 2020 Therms | 2020 NG expense | 2019 Therms | 2019 NG expense | 2018 Therms | 2018 NG expense | 2017 Therms | 2017 NG expense
Sheriff's Department | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Cable Garage | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Courthouse | 23721 | 13051.19 | 23543 | 14012 | 20784 | 13843 | 19569 | 12291
Fairgounds | 17 | 377 | 949 | 913 | 420 | 603 | 51 | 340
Forestry Bldg | 858 | 843.95 | 999 | 1015 | 904 | 987 | 708 | 800
Highway C Garage | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Washburn Highway Garage | 13727 | 9169.05 | 16989 | 11082 | 15132 | 10213 | 12519 | 8394
Highway E (Mason Station) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mason Station (see note) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Iron River Garage | 6006 | 3809.7 | 7282 | 4964 | 7172 | 5018 | 5562 | 3922
Jail | 27588 | 15715.21 | 30729 | 18581 | 30504 | 20254 | 29306 | 18543
Port Wing Garage | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Russell Garage | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Ashland WIC | 684.0352 | 737.16
CNG | -5959.0554 | -3546.8298 | -4760 | -2833.152 | -3596 | -2394.936 | -3750 | -2355
| 66641.9799 | 40156.4302 | 75731 | 47733.848 | 71320 | 48523.064 | 63965 | 41935
Note: This is a summary sheet, enter data on Nat. Gas Entry Form, not here.
2020 usage vs. 2019 (therms %) | -12%

## Nat. Gas Entry Form
2020 Natural Gas Usage - Bayfield County
2020 | Forestry Therms | Forestry $ | Iron River Garage Therms | Iron River Garage $ | Ashland WIC Therms | Ashland WIC $ | Courthouse Therms | Courthouse $ | Jail Therms | Jail $ | Wash. Hwy. Garage Therms | Wash. Hwy. Garage $
Jan | 141 | 112.2 | 1337 | 805.68 | 113.4005 | 95.92 | 2986 | 1791.1 | 4215 | 2564.89 | 3242 | 1942.18
Feb | 150 | 114.8 | 981 | 594.23 | 98.4628 | 85.01 | 2819 | 1632.57 | 4403 | 2514.5 | 2543 | 1475.57
March | 104 | 88.53 | 663 | 402.18 | 88.0421 | 79.45 | 1954 | 1148.68 | 2980 | 1765.02 | 1699 | 1002.56
April | 70 | 63.95 | 366 | 207.98 | 41.6531 | 49.82 | 1599 | 828.25 | 2271 | 1208.08 | 1101 | 579.33
May | 9 | 32.94 | 8 | 32.46 | 1.9672 | 29.86 | 1286 | 591.21 | 1107 | 515.92 | 203 | 117.74
June | 0 | 29 | 0 | 29 | 0 | 29 | 1166 | 522.82 | 486 | 235.11 | 1 | 29.42
July | 1 | 29.41 | 0 | 29 | 0 | 29 | 1143 | 508.83 | 339 | 170.82 | 0 | 29
August | 0 | 31.68 | 3 | 30.37 | 6.0549 | 31.75 | 1207 | 577.19 | 364 | 187.07 | 6 | 31.72
Sept | 7 | 32.15 | 16 | 35.87 | 23.5713 | 39.6 | 1265 | 597.87 | 1038 | 502.18 | 209 | 122.99
Oct | 57 | 55.03 | 416 | 225.26 | 65.6784 | 58.75 | 2106 | 982.94 | 2572 | 1167.11 | 1495 | 706.18
Nov | 114 | 99.6 | 828 | 542.07 | 109.0904 | 96.56 | 2730 | 1719.7 | 3132 | 1967.19 | 196 | 1244.7
Dec | 205 | 154.66 | 1388 | 875.6 | 136.1146 | 112.44 | 3460 | 2150.03 | 4681 | 2917.32 | 3032 | 1887.66
Total | 858 | 843.95 | 6006 | 3809.7 | 684.0352 | 737.16 | 23721 | 13051.19 | 27588 | 15715.21 | 13727 | 9169.05
Natural Gas Price Month | 2019 | 2020 | Price 2020 vs. 2019 | Degree Days 2019 | Degree Days 2020 | D.days 2020 vs. 2019
Jan | 0.67561 | 0.59012 | -12.65% | 1773 | 1383 | -22%
Feb | 0.60801 | 0.56884 | -6.442% | 1615 | 1340 | -17.03%
March | 0.59202 | 0.57302 | -3.209% | 988 | 1058 | 7.085%
April | 0.56552 | 0.49984 | -11.61% | 778 | 846 | 8.74%
May | 0.4816 | 0.43718 | -9.223% | 383 | 260 | -32.11%
June |  | 0.42352
July |  | 0.41979
August |  | 0.45418
Sept | 0.4816 | 0.4497 | -6.623% | 261 | 414 | 58.62%
Oct | 0.53442 | 0.45297 | -15.24% | 946 | 801 | -15.33%
Nov | 0.6254 | 0.6193 | -0.9746% | 1364 | 1113 | -18.4%
Dec | 0.8332 | 0.61301 | -26.43% | 1601 | 1531 | -4.372%
Total |  |  |  | 9709 | 8746 | -9.919%
Average | 0.59971 | 0.50846 | -15.22%

## Propane
Propane Entry Form
| 2020 | 2019 | 2018 | 2017 | 2016
Propane Delivered | 14649 | 19151 | 16264 | 11948 | 9676
Unit Cost | 0.95359 | 1.149 | 0.92 | 0.785 | 0.92
Gallons Purchased | 15362 | 16667.537 | 17678.2609 | 15220.3822 | 10517.3913

## Fleet Fuel
Bayfield County Fleet Fuel
Highway Fleet | 2020 gallons | 2020 $ | 2019 gallons | 2019 $ | 2018 gallons | 2018 $ | 2017 gallons | 2017 $ | 2020 Price/gallon | 2019 Price/gallon | 2018 Price/gallon | 2017 Price/gallon
diesel fuel | 67014 | 135711 | 69218 | 172275 | 65287 | 166321 | 77534 | 167411 | 2.0251 | 2.4889 | 2.5475 | 2.1592
unleaded fuel | 12582 | 18246 | 10349 | 21727 | 10296 | 25821 | 13922 | 31156 | 1.4502 | 2.0994 | 2.5079 | 2.2379
County Fleet
unleaded fuel | 21106 | 30607.2227 | 24130 | 50659.2434 | 22636 | 56768.0804 | 22420 | 50173.6475
CNG (gasoline gal equiv) | 4771 |  | 3811 |  | 2879 |  | 3002
CNG therms | 5959.0554 | 3546.8298 | 4760 | 2833.152 | 3596 | 2394.936 | 3750 | 2355
diesel total | 67014 | 135711 | 69218 | 172275 | 65287 | 166321 | 77534 | 167411
unleaded total | 38459 | 48853.2227 | 34479 | 72386.2434 | 32932 | 82589.0804 | 36342 | 81329.6475
CNG (gasoline gal equiv) | 4771 | 3546.8298 | 3811 | 2833.152 | 2879 | 2394.936 | 3002 | 2355
Total | 110244 | 188111.0525 | 107508 | 247494.3954 | 101098 | 251305.0164 | 116878 | 251095.6475
Conv. Factor
Therms to gallons | 0.80063
Gallons to therms | 1.249

## Renewable Electricity
Bayfield County, WI Renewable Electricity
Actual on-site & off-site solar generation | [12 empty] | Pre-2020 Estimated solar generation
Buildings with on-site or off-site solar | kW dc | 2020 kWh billed | 2020 Solar Generation total (kWh) | 2020 Total kWh Building Used | Average Electric Rate | 2020 Solar ($) | 2020 Solar kWh/kW | 2019 Solar Generation total (kWh) | 2019 Total kWh Building Used | 2019 Solar ($) | 2018 gen (kWh) | 2017 gen (kWh) | Site | Type | kW dc | kWh/kW/yr | Average Electric Rate | 1st yr savings | Annual Generation kWh | 2019 kWh on electric bill | 2019 Solar Generation in addition to kWh on Electric Bills
Forestry Bldg | 8.4 | 3107 | 9879 | 12986 | 0.12 | 1185.48 | 1176.0714 | 0 | 11002 | 0 |  |  | Forestry Bldg | on-site | 8.4 | 1200 | 0.12 | 1209.6 | 10080 | 11002
Washburn Highway Garage | 44.3 | 17320 | 46547 | 63867 | 0.08 | 3723.76 | 1050.7223 | 0 | 56880 |  |  |  | Washburn Highway Garage | on-site | 44.3 | 1200 | 0.08 | 4252.8 | 53160 | 56880
Mason Station | 4.9 | 943 | 5600 | 6543 | 0.12 | 672 | 1142.8571 | 5880 | 7950 | 705.6 |  |  | Mason Station | on-site | 4.9 | 1200 | 0.12 | 705.6 | 5880 | 2070 | 5880
Jail 5kW mini solar | 5 | 0 | 4885 | 4885 | 0.088 | 429.88 | 977 | 4420 | 554260 | 353.6 | 5180 | 3730 | Jail pre-2020 (mini solar) | on-site | 5 | 1200 | 0.08 | 480 | 4420 | 549840 | 4420
Jail 111kW large solar | 111.4 | 404720 | 112360 | 517080 | 0.088 | 9887.68 | 1008.6176 | 0 | 0 |  |  |  | Jail, 111kW large solar | on-site | 111.4 | 1200 | 0.08 | 10694.4 | 133680 | 0
Total on-site solar |  |  | 179271 |  |  | 15898.8 |  | 10300
Russell Garage (BEC CS) | 5.125 | 8414 | 5250 | 13664 | 0.135 | 708.75 | 1024.3902 | 4543 | 13257.2844 |  |  |  | Russell Garage | off-site | 5.125 | 994.75 | 0.14 | 642.3598 | 4588.2844 | 8669 | 4588.2844
Xcel Community Solar | 190 |  | 203850 |  | 0.081 | 16511.85 | 1072.8947 | 203490 |  |  |  |  | Xcel Community Solar | off-site | 190 | 1072 | 0.075 | 15276 | 203680
Total off-site solar |  |  | 209100 |  |  | 17220.6 |  | 208033
Total solar not on bills | 174 |  | 184521 | [9 empty] | On-site Solar |  | 174 |  |  | 17342.4 | 207220 |  | 10300
| 195.125 | [11 empty] | Off-site Solar |  | 195.125 |  |  | 15918.3598 | 208268.2844 |  | 4588.2844
Totals | 369.125 | 434504 | 388371 | 619025 |  | 33119.4 |  | 218333 | 643349.2844 | 1059.2 | 5180 | 3730 | Total |  | 369.125 |  |  | 33260.7598 | 415488.2844 | 628461 | 14888.2844
[16 empty] | 2019 Total Building Usage |  |  | 643349.2844
Notes: | ~Values come from folder 2020 Utiity Bill History & Jail/Courthouse Electric Use Data Spreadsheets
| ~BEC 2020 community solar has 210kWh per share | [11 empty] | Notes: | ~25 shares BEC Comm.Solar is attached to Russell Garage. Generation is subtracted from usage on bill
| ~Xcel community solar 190kW split 140kW courthouse/50kW jail | [12 empty] | ~190kW Xcel Comm.Solar. Generation is not subtracted fromkWh usage on electric bills, only $ amount
Community Solar Generation Totals
| 2020 kWh/kw | 2019 kWh/kw | 2018 kWh/kw | 2017 kWh/kw | Average
BEC Community Solar | 1024 | 831 | 1026 | 1098 | 994.75
Xcel Community Solar | 1073 | 1071 |  |  | 1072
Note: Xcel CS- 1103 kWh/kW/yr is from Xcel; 1071 kWh/kW/yr is actual adding 2019 electric bills
BEC CS- gen numbers are downloaded from eGauge
Original Estimates from Xcel/OneEnergy |  | mWh est. | kWh/kW/yr
Xcel Community Solar 984 kW dc |  | 1275 | 1295.7317
Cashton Solar Garden 998 kW dc tracking |  | 1500 | 1503.006
2020 BEC community Solar: 210kWh/205w share = 1024kWh/kw (210kWh/share came from adding 12 months of bill credits)
2020 Xcel community solar: 190kW generated 203,850 kWh = 1072.9kWh/kW

## Renewable.Connect 2020
Xcel Renewable*Connect Program Details - 2020 data
Location | 2020 kWh Total Usage on Electric bill | 2020 Onsite Solar Generation | Community Solar Generation |  | Maximum kWh that could be offset in Renew*Conn. Program | Carbon-free Electrcity
|  |  |  | 2020 Total Building kWh |  | Xcel Carbon-free in Generation Mix (56%) | kWh to Offset in Renewable*Connect | Round | % of Total Usage offset with Renewable* Connect | % Carbon-free before Renewable* Connect
Sheriff's Department | 15593 | 0 |  | 15593 | 15593 | -8732.08 | 6860.92 | 6900
Cable Garage | 2141 | 0 |  | 2141 | 2141 | -1198.96 | 942.04 | 900
Courthouse | 285600 | 0 | -150196.68 | 285600 | 135403.32 | -75825.8592 | 59577.4608 | 59600
Forestry Bldg | 3107 | -9879 |  | 12986 | 3107 | -1739.92 | 1367.08 | 1400
Washburn Highway Garage | 17320 | -46547 |  | 63867 | 17320 | -9699.2 | 7620.8 | 7600
Highway C | 6855 | 0 |  | 6855 | 6855 | -3838.8 | 3016.2 | 3000
Highway E (Mason Station) | 6801 | -5600 |  | 12401 | 6801 | -3808.56 | 2992.44 | 3000
Mason Station | 943 | 0 |  | 943 | 943 | -528.08 | 414.92 | 400
Jail | 404720 | -117245 | -53653.32 | 521965 | 351066.68 | -196597.3408 | 154469.3392 | 154500
Port Wing Garage | 5218 | 0 |  | 5218 | 5218 | -2922.08 | 2295.92 | 2300
Grandview Sheriff Storage | 1060 | 0 |  | 1060 | 1060 | -593.6 | 466.4 | 500
Washburn EM Tower | 9759 | 0 |  | 9759 | 9759 | -5465.04 | 4293.96 | 4300
Ashland WIC | 6047 | 0 |  | 6047 | 6047 | -3386.32 | 2660.68 | 2700
Xcel Total | 765164 | -179271 | -203850 | 944435 | 561314 | -314335.84 | 246978.16 | 247100 | 26.15% | 73.85%
Total to Offset in Renewable*Connect Program | [6 empty] | 247100
Renewable*Connect Annual cost at $.59/100kWh | [6 empty] | 1457.89
kWh not covered in Xcel Renewable*Connect Program - BEC & Dahlberg
Location | 2020 kWh Total Usage | Onsite 2020 Solar Generation | Community Solar Generation | 2020 kWh to offset | BEC/Dahlberg RE in Generation Mix (24%) | kWh to Offset in Other Programs | Round
Fairgounds | 128 | 0 |  | 128 | -30.72 | 97.28 | 100
Russell Garage | 8414 | 0 | -5250 | 8414 | -2019.36 | 6394.64 | 6400
Dairyland Total | 8542 | 0 | -5250 | 8542 | -2050.08 | 6491.92 | 6500
Dairyland Power's Evergreen Program annual cost at $1.00/100kWh | [6 empty] | 65
Iron River Garage | 14196 | 0 |  | 14196 | -3407.04 | 10788.96 | 10800
Arcadia Power Program annual cost at $1.50/100kWh | [6 empty] | 162
Summary
| Billed Usage | Onsite Solar | Offsite Solar |  | Carbon-free in Utility mix | kWh to offset | Round
Grand Total | 787902 | -179271 | -209100 |  | -319792.96 | 264259.04 | 264400
2019 Solar Gen. Behind Meter | 184521 | [5 empty] | Total Cost
Total Solar Generation |  |  | 388371 | Proof (match RE tab cell C15) |  |  | 1684.89
Total 2019 kWh Building Use | 972423 | Proof (match tab EEF cell C22, and ChartCF P10)

## Renewable.Connect 2019
Xcel Renewable*Connect Program Details
Location | 2019 kWh Total Usage on Electric bill | Estimated New Onsite 2020 Solar Generation | Community Solar Generation | Maximum kWh that could be offset in Renew*Conn. Program | Carbon-free Electrcity
[5 empty] | Xcel Carbon-free in Generation Mix (56%) | kWh to Offset in Renewable*Connect | Round | % to offset with Renewable* Connect | % Carbon-free before Renewable*Connect
Sheriff's Department | 15431 | 0 |  | 15431 | -8641.36 | 6789.64 | 6800
Cable Garage | 2112 | 0 |  | 2112 | -1182.72 | 929.28 | 900
Courthouse | 299680 | 0 | -146649.6 | 153030.4 | -85697.024 | 67333.376 | 67300
Forestry Bldg | 11002 | -10080 |  | 922 | -516.32 | 405.68 | 400
Washburn Highway Garage | 56880 | -53160 |  | 3720 | -2083.2 | 1636.8 | 1600
Highway C | 1789 | 0 |  | 1789 | -1001.84 | 787.16 | 800
Highway E (Mason Station) | 5527 | 0 |  | 5527 | -3095.12 | 2431.88 | 2400
Mason Station | 2070 | 0 |  | 2070 | -1159.2 | 910.8 | 900
Jail | 549840 | -133680 | -57030.4 | 359129.6 | -201112.576 | 158017.024 | 158000
Port Wing Garage | 5895 | 0 |  | 5895 | -3301.2 | 2593.8 | 2600
Xcel Total | 950226 | -196920 | -203680 | 549626 | -307790.56 | 241835.44 | 241700 | 25.45% | 74.55%
Additional kWh County wants to offset | [5 empty] | 0 | 0
Total to Offset in Renewable*Connect Program | [6 empty] | 241700
Renewable*Connect Annual cost at $.59/100kWh | [6 empty] | 1426.03
kWh not covered in Xcel Renewable*Connect Program - BEC & Dahlberg
Location | 2019 kWh Total Usage | Estimated Onsite 2020 Solar Generation | Community Solar Generation | 2020 Estimate kWh Purchase | BEC/Dahlberg RE in Generation Mix (24%) | kWh to Offset in Other Programs | Round
Fairgounds | 183 | 0 |  | 183 | -43.92 | 139.08 | 100
Russell Garage | 13257.2844 | 0 | -4588.2844 | 8669 | -2080.56 | 6588.44 | 6600
Dairyland Total | 13440.2844 | 0 | -4588.2844 | 8852 | -2124.48 | 6727.52 | 6700
Dairyland Power's Evergreen Program annual cost at $1.00/100kWh | [6 empty] | 67
Iron River Garage | 13038.3973 | 0 |  | 13038.3973 | -3129.2154 | 9909.182 | 9900
Arcadia Power Program annual cost at $1.50/100kWh | [6 empty] | 148.5
Grand Total | 976704.6817 | -196920 | -208268.2844 | 571516.3973 | -313044.2554 | 258472.142 | 258300
2019 Solar Gen. Behind Meter | 10300
Total Est. Solar Generation |  |  | 415488.2844 | Proof (match RE tab cell S15) |  |  | 1641.53
Total 2019 kWh Building Use | 987004.6817 | Proof (match EEF tab E21)

## ChartCF
Bayfield County Path to 100% Carbon-free Electricity
| Chart Data (Updated 2020 data) | kWh | %
| Self-generated Solar PV | 179271 | 18.44%
| Community Solar | 209100 | 21.5%
| Carbon-free energy in utility generation mix | 319792.96 | 32.89%
| Renewable*Connect | 246978.16 | 25.4%
| Other Utility Green Program | 17280.88 | 1.777%
| Total Electric Usage | 972423 | 100%

## Notes
READ ME FILE
~Going forward into 2020 and beyond, the onsite solar generation needs to be included in Total (Year) kWh. For example, solar generation is entered in Renewable Electricity Tab and added in Electricity Entry Tab in cell C19
~This is necessary because buildings use solar generated electricity before any excess goes to the grid. If you just use the electric meter for usage, you are not showing the full kWhs used.
~Not showing the full building usage would skew numbers like the percentage of electricity that comes from renewable sources
~The solar generation numbers can be found through the inverter's web-based software
~In 2019 Mason Station was the only onsite solar generation in 2019 reflected on a utility bill. Small Jail PV was absorbed behind the meter and,
~The Forestry Building had solar generation in 2019 but was not credited to the electric bill. This was corrected in Jan/Feb 2020
~I could not find Dahlberg's renewable energy percentage in their generation mix. They are a disribution utility and likely buy their electricity from MISO. I used 24% as a placeholder, but it is statistically insignificant.
~This tracking spreadsheet will likely evolve to include data from the Jail and Washburn Garage eGauge data.
~BEC has a "Green" program that could offset those few kWH, Dahlberg does not. Could use another program like Arcadia Power
~BEC subtracts kWh of community solar generation from bill. Xcel does not, rather gives dollar amount credit. For full building usage, need to add BEC commuity solar generation to Russel Garage.
~Xcel's History Report numbers to not match electric bills. This has been reconciled through a spreadsheet called "Compare Bills to History Report". All the numbers are correct, they are just summing different things. Check it out.